## Tabelle1
Section No. | Report Section | N54 Field Name | xml tag name | Proposed Format | Default or Pick List Content | in case the information is madatory, it is mandatory for I= initial, FU = Follow-Up, I/F = Combined Initial and Final , F = Final Report
1 | Administrative Information |  | ncaName | Alphanumeric, nonEmptyString | Blank | mandatory for all types of report
1 | Administrative Information |  | ncaAddress | Alphanumeric, nonEmptyString | Blank | mandatory for all types of report
1 | Administrative Information | Mfr's internal number | mfrInternalNo | Alphanumeric, nonEmptyString | Blank | mandatory for all types of report
1 | Administrative Information | # assigned by NCA to whom sent | ncaReportNo | Alphanumeric | Blank | mandatory for FU, F
1 | Administrative Information | ClinicalInv | ClinicalInv | Alphanumeric | Blank
1 | Administrative Information | CINumber | CINumber | Alphanumeric | Blank
1 | Administrative Information | FDAReport | FDAReport | Yes/No, noEmpty | Blank
1 | Administrative Information | User Facility Report # | userFacilityReportNo | Alphanumeric | Blank
1 | Administrative Information |  | userFacilityNo | Alphanumeric | Blank
1 | Administrative Information | Report Type | reportType | Picklist of 4 choices, nonEmpty | Initial, Follow-up, Final,combined Initial and Final report | mandatory for all types of report
1 | Administrative Information | Date of this report | reportDate | yyyy-mm-dd e.g. 2010-02-12; nonEmpty | Today's date | mandatory for all types of report
1 | Administrative Information | Date the adverse event occurred | adverseEventDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
1 | Administrative Information |  | spht | Yes/No, noEmpty | Blank | mandatory for all types of report
1 | Administrative Information | Classification of event: (ref N21, N33) | eventClassification | Picklist of 3 exclusive choices, nonEmpty | Death, unanticipated deterioration in state of health, All other reportable incidents | mandatory for all types of report
1 | Administrative Information | Manufacturer Awareness Date | mfrAwarenessDate | yyyy-mm-dd e.g. 2010-02-12, nonEmpty | mandatory | mandatory for all types of report
1 | Administrative Information | Date of next report | reportNextDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
1 | Administrative Information | Identify to what other NCAs this report was also sent. | ncaCopiedIn | Alphanumeric | Blank
1 | Administrative Information |  | statusReporter | Picklist of 3 exclusive choices, nonEmpty | Manufacturer, Authorised Representative, Others | mandatory for all types of report
1 | Administrative Information |  | reporterOtherText | Alphanumeric, noEmpty if statusReporter = Others | Blank | mandatory if statusReporter = Others
2 | Contact Information | Mfr. Name | mfrName | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Contact Name | mfrContactName | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Address | mfrAddress | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | mfrCity | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | mfrCountry | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | mfrPostcode | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Phone | mfrPhone | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Fax | mfrFax | Alphanumeric | Blank
2 | Contact Information | Electronic mail address | mfrEmailAddress | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARName | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARContactPerson | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARAddress | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARCity | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARCountry | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARPostcode | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARPhone | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | ARFax | Alphanumeric | Blank
2 | Contact Information |  | AREmailAddress | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Name of the contact person submitting the report | reporterContactPerson | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Company Name | reporterOrgName | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Company Address | reporterOrgAddress | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | reporterOrgCity | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | reporterOrgCountry | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information |  | reporterOrgPostcode | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Company Phone | reporterOrgPhone | Alphanumeric, noEmpty | Blank | mandatory for all types of report
2 | Contact Information | Company Fax | reporterOrgFax | Alphanumeric | Blank
2 | Contact Information | Company electronic mail address | reporterOrgEmail | Alphanumeric, noEmpty | Blank | mandatory for all types of report
3 | Clinical Event Information | Event description narrative | eventDescription | Alphanumeric, noEmpty | Blank | mandatory for all types of report
3 | Clinical Event Information | eventCode | eventCode | Alphanumeric | Blank
3 | Clinical Event Information | Relevantlabdata | Relevantlabdata | Alphanumeric | Blank
3 | Clinical Event Information | OtherRelHistory | OtherRelHistory | Alphanumeric | Blank
3 | Clinical Event Information | Operator of device at the time of the event | deviceOperatorAtEvent | Picklist of 3 choices | Healthcare professional, Patient, Other
3 | Clinical Event Information |  | deviceOperatorAtEventOther | Alphanumeric; noEmpty if "deviceOperatorAtEvent" = "Other" | Blank | mandatory if deviceOperatorAtEvent = Other
3 | Clinical Event Information | Number of patients1 involved | numPatientsInvolved | Numeric | Default "1" | mandatory for all types of report
3 | Clinical Event Information | Number of devices involved | numDevicesInvolved | Numeric | Default "1" | mandatory for all types of report
3 | Clinical Event Information |  | ImplantedDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
3 | Clinical Event Information |  | ExplantedDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
3 | Clinical Event Information |  | ImplantDuration | yyyy-mm-dd e.g. 2010-02-12 | Blank
4 | Healthcare Facility Information | Name | healthcareFacilityName | Alphanumeric | Blank
4 | Healthcare Facility Information | Address | healthcareFacilityAddress | Alphanumeric | Blank
4 | Healthcare Facility Information |  | healthcareFacilityCity | Alphanumeric | Blank
4 | Healthcare Facility Information |  | healthcareFacilityCountry | Alphanumeric | Blank
4 | Healthcare Facility Information |  | healthcareFacilityPostcode | Alphanumeric | Blank
4 | Healthcare Facility Information | Phone | healthcareFacilityPhone | Alphanumeric | Blank
4 | Healthcare Facility Information | Fax | healthcareFacilityFax | Alphanumeric | Blank
4 | Healthcare Facility Information | Electronic mail address | healthcareFacilityEmail | Alphanumeric | Blank
4 | Healthcare Facility Information | Contact Name at the Site of the Event | contactNameEventSite | Alphanumeric | Blank
4 | Healthcare Facility Information |  | HealthcareDate | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Usage of Device | deviceUsage | Picklist of 6 choices | initial use; reuse of single use medical device; reuse of reusable device; re-serviced/refurbished; problem noted prior use, other
5 | Device Information (Repeat this section for each device involved) |  | deviceUsageOther | Alphanumeric, noEmpty if "deviceUsage" ="other" | blank | mandatory if "deviceUsage" ="other"
5 | Device Information (Repeat this section for each device involved) | reprocessorDetails | reprocessorDetails | Alphanumeric | blank
5 | Device Information (Repeat this section for each device involved) | Nomenclature System | nomenclatureSystem | Picklist of 2 choices | GMDN; JMDN
5 | Device Information (Repeat this section for each device involved) | Nomenclature Code | nomenclatureCode | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Nomenclature Code Defined in Text | nomenclatureCodeDefinedInText | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) |  | deviceClass | Picklist of 9 | AIMD Active implants, MDD Class III, MDD Class IIb, MDD Class IIa, MDD Class I, IVD Annex II List A, IVD Annex II List B, IVD Devices for self-testing, IVD General | mandatory for reports to Europe
5 | Device Information (Repeat this section for each device involved) | Brand Name | brandName | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Model # | modelNum | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Catalogue # | catalogNum | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Device Identifier Number | serialNum | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Device Identifier Number | batchNum | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) | Device Identifier Number | deviceSoftwareVer | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) |  | deviceMfrDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
5 | Device Information (Repeat this section for each device involved) |  | deviceAge | Alphanumeric | Blank
5 | Device Information (Repeat this section for each device involved) |  | deviceExpiryDate | yyyy-mm-dd e.g. 2010-02-12 | Blank
5 | Device Information (Repeat this section for each device involved) |  | deviceAccessories | Alphanumeric | Blank
| Device Information (Repeat this section for each device involved) |  | nbIdNum | Numeric, 4 digits | Blank
5 | Device Information (Repeat this section for each device involved) | Device Disposition/Current Location | currentDeviceLocation | Alphanumeric | Blank
6 | Results of Manufacturer’s Investigation |  | manufacturersPrelimAnalysis | Alphanumeric, nonEmpty for Initial and Follow-Up Reports | Blank | mandatrory for I, FU
6 | Results of Manufacturer’s Investigation |  | manufacturersInitialCorrecAction | Alphanumeric, nonEmpty for Initial and Follow-Up Reports | Blank | mandatrory for I, FU
6 | Results of Manufacturer’s Investigation | Manufacturers Device Analysis Results | manufacturersDeviceAnalysis | Alphanumeric, nonEmpty for Înitial/Final and Final Reports | Blank | mandatrory for I, I/F
6 | Results of Manufacturer’s Investigation |  | manufacturersFinalComments | Alphanumeric, nonEmpty | Blank | mandatrory for I, I/F
6 | Results of Manufacturer’s Investigation |  | adverseEventTypeCodes | Picklist from the standard ISO 19218 | Blank
6 | Results of Manufacturer’s Investigation |  | adverseEventCauseCodes | Picklist from the standard ISO 19218 | Blank
6 | Results of Manufacturer’s Investigation |  | adverseEventFDATerm | Alphanumeric | Blank
6 | Results of Manufacturer’s Investigation | Remedial Action/Corrective Action/Preventive Action | correctiveAction | Alphanumeric, nonEmpty | Blank | mandatrory for I, I/F
6 | Results of Manufacturer’s Investigation |  | mfrTimeScheduleForAction | Alphanumeric | Blank
6 | Results of Manufacturer’s Investigation |  | furtherInvestigations | Alphanumeric | Blank
7 | Patient information (Repeat this section for each patient involved) |  | patientIdentifier | Alphanumeric | Blank
7 | Patient information (Repeat this section for each patient involved) | Age of patient at time of event | patientAgeAtEvent | numeric (Days or Month or Year) | Blank
7 | Patient information (Repeat this section for each patient involved) | Unit of Age | ageUnit | Picklist days or month or year | Blank
7 | Patient information (Repeat this section for each patient involved) | Gender | Gender | Picklist of 2 | Blank
7 | Patient information (Repeat this section for each patient involved) | Mass in Kilograms (metric units will be assumed) | massKG | Numeric (Kg) | Blank
7 | Patient information (Repeat this section for each patient involved) | List of Devices involved with each patient, see Section IV | devicesAssocPatient | Alphanumeric | Blank
7 | Patient information (Repeat this section for each patient involved) | Corrective action taken relevant to the care of the patient | patientCorrectiveAction | Alphanumeric | Blank
7 | Patient information (Repeat this section for each patient involved) | Patient outcome | patientOutcome | Alphanumeric | Blank
8 | Other Reporting Information (to be included in final reports only) | Manufacturer aware of similar events | mfrAwareSimEvents | Picklist Yes/No | Blank | mandatory for F and I/F
8 | Other Reporting Information (to be included in final reports only) | Number of similar events ((same root cause) | numSimEvents | Numeric | Blank
8 | Other Reporting Information (to be included in final reports only) |  | countriesWithSimEvents | Alphanumeric | Blank
8 | Other Reporting Information (to be included in final reports only) |  | distributionEEA | Picklist | Picklist with all EEA states and CH | mandatory for F and I/F and in Europe only
8 | Other Reporting Information (to be included in final reports only) |  | distributionEUCandidates | Picklist | HR or TR | mandatory for F and I/F and in Europe only
8 | Other Reporting Information (to be included in final reports only) |  | distribution_all | Picklist | All EEA Staes, Candidates + CH | mandatory for F and I/F and in Europe only
8 | Other Reporting Information (to be included in final reports only) |  | distributionOutsideEU | Alphanumeric | Blank | mandatory for F and I/F and in Europe only
8 | Other Reporting Information (to be included in final reports only) | Additional comments | AdditionalComments | Alphanumeric | Blank
8 | Other Reporting Information (to be included in final reports only) | Manufacturer Disclaimer | manufacturerDisclaimer | Alphanumeric | Blank
Note on B113: Repeat this section if multiple manufacturer involved? Usually by final report the conclusions for any device involvement would have concluded only one device as the cause. If not these details could be included in additional comments.